## Raw Data
Sample | [6 empty] | 23 Na [ He ] |  |  | 24 Mg [ He ] |  |  | 27 Al [ He ] |  |  | 39 K [ He ] |  |  | 43 Ca [ He ] |  |  | 44 Ca [ He ] |  |  | 52 Cr [ He ] |  |  | 55 Mn [ He ] |  |  | 56 Fe [ H2 ] |  |  | 59 Co [ He ] |  |  | 60 Ni [ He ] |  |  | 63 Cu [ He ] |  |  | 66 Zn [ He ] |  |  | 71 Ga [ He ] |  |  | 107 Ag [ He ] |  |  | 111 Cd [ He ] |  |  | 137 Ba [ He ] |  |  | 208 Pb [ He ] |  |  | 45 Sc ( ISTD ) [ H2 ] |  | 45 Sc ( ISTD ) [ He ] |  | 89 Y ( ISTD ) [ H2 ] |  | 89 Y ( ISTD ) [ He ] |  | 193 Ir ( ISTD ) [ H2 ] |  | 193 Ir ( ISTD ) [ He ]
| Rjct | Data File | Acq. Date-Time | Type | Level | Sample Name | CPS | Conc. RSD | Conc. [ ug/l ] | CPS | Conc. RSD | Conc. [ ug/l ] | CPS | Conc. RSD | Conc. [ ug/l ] | CPS | Conc. RSD | Conc. [ ug/l ] | CPS | Conc. RSD | Conc. [ ug/l ] | CPS | Conc. RSD | Conc. [ ug/l ] | CPS | Conc. RSD | Conc. [ ug/l ] | CPS | Conc. RSD | Conc. [ ug/l ] | CPS | Conc. RSD | Conc. [ ug/l ] | CPS | Conc. RSD | Conc. [ ug/l ] | CPS | Conc. RSD | Conc. [ ug/l ] | CPS | Conc. RSD | Conc. [ ug/l ] | CPS | Conc. RSD | Conc. [ ug/l ] | CPS | Conc. RSD | Conc. [ ug/l ] | CPS | Conc. RSD | Conc. [ ug/l ] | CPS | Conc. RSD | Conc. [ ug/l ] | CPS | Conc. RSD | Conc. [ ug/l ] | CPS | Conc. RSD | Conc. [ ug/l ] | Conc. | Conc. RSD | Conc. | Conc. RSD | Conc. | Conc. RSD | Conc. | Conc. RSD | Conc. | Conc. RSD | Conc. | Conc. RSD
| FALSE | Rinse 1.d | 2026-08-10 12:42 | Sample |  | Rinse 1 | 4937.67 |  |  | 45.05 |  |  | 16.6867 |  |  | 2960.0867 |  |  | 5.0067 |  |  | 602.3167 |  |  | 350.37 |  |  | 53.39 |  |  | 5783.91 |  |  | 25.03 |  |  | 148.49 |  |  | 1004.4267 |  |  | 9389.5733 |  |  | 0 |  |  | 513.1167 |  |  | 10.0133 |  |  | 5.0067 |  |  | 689.08
| FALSE | 0ppb.d | 2026-08-10 12:47 | CalBlk | 1 | 0ppb | 2546.22 | N/A | 0 | 253.6033 | N/A | 0 | 28.3667 | N/A | 0 | 2716.4467 | N/A | 0 | 8.3433 | N/A | 0 | 880.9567 | N/A | 0 | 95.1033 | N/A | 0 | 31.7 | N/A | 0 | 2561.2667 | N/A | 0 | 65.0667 | N/A | 0 | 70.07 | N/A | 0 | 270.2867 | N/A | 0 | 6301.3533 | N/A | 0 | 0 | N/A | 0 | 53.31 | N/A | 0 | 1.67 | N/A | 0 | 6.6733 | N/A | 0 | 407.1033 | N/A | 0
| FALSE | 5.d | 2026-08-10 12:51 | CalStd | 2 | 5 | 3936.3333 | 10.1187 | 4.9842 | 830.8967 | 9.1762 | 4.578 | 256.94 | 16.5814 | 5.8524 | 3036.8533 | 57.1226 | 4.3797 | 21.69 | 78.0685 | 7.1367 | 932.68 | 68.6499 | 3.0617 | 9409.54 | 1.7591 | 5.1103 | 4293.4833 | 2.2822 | 5.1179 | 35846.44 | 0.38186 | 6.1582 | 18359.1467 | 0.35362 | 5.2689 | 5109.6 | 3.8756 | 5.0869 | 15180.5733 | 1.5802 | 5.3501 | 7067.4733 | 22.111 | 2.0427 | 2199.1567 | 6.3952 | 5.2468 | 23267.17 | 3.6674 | 8.8143 | 3103.61 | 5.2767 | 5.0778 | 2162.45 | 1.6254 | 5.1176 | 40290.3333 | 1.3067 | 5.1992
| FALSE | 50.d | 2026-08-10 12:56 | CalStd | 3 | 50 | 14903.1133 | 3.3514 | 44.3049 | 6311.3333 | 5.394 | 48.038 | 2037.2833 | 3.6708 | 51.4366 | 6217.8267 | 1.2868 | 47.861 | 106.78 | 33.0843 | 52.636 | 1700.22 | 12.9664 | 48.4947 | 89369.3733 | 0.83833 | 48.9799 | 40846.1667 | 0.74258 | 49.0137 | 267839.3267 | 0.63673 | 49.0801 | 170293.8967 | 0.96552 | 49.0274 | 48740.6467 | 1.326 | 49.1279 | 138621.1833 | 0.10551 | 49.6427 | 22990.6333 | 3.37 | 44.4976 | 20198.58 | 2.2503 | 48.1901 | 254346.5333 | 0.70692 | 96.5548 | 29816.1067 | 1.474 | 48.8054 | 20610.2567 | 1.06 | 48.9108 | 379474.8067 | 0.18577 | 49.4158
| FALSE | 100.d | 2026-08-10 13:00 | CalStd | 4 | 100 | 29234.11 | 1.5133 | 95.6878 | 13393.39 | 2.2695 | 104.199 | 4186.6667 | 4.3981 | 106.4698 | 9943.83 | 3.4976 | 98.7924 | 266.9533 | 14.5269 | 138.2839 | 2699.76 | 15.6592 | 107.6605 | 193264.19 | 0.87963 | 105.9814 | 88311.0933 | 0.92294 | 106.0139 | 569166.6933 | 0.1057 | 104.8298 | 368172.93 | 0.48435 | 106.0182 | 105082.86 | 0.52366 | 105.9996 | 297921.37 | 0.29915 | 106.8025 | 44375.9 | 0.64091 | 101.5158 | 44021.4567 | 0.7831 | 105.027 | 549007.89 | 0.53325 | 208.4374 | 65181.5433 | 0.46841 | 106.6976 | 44919.6033 | 1.3269 | 106.6188 | 814015.3133 | 0.42477 | 106.0631
| FALSE | 200.d | 2026-08-10 13:05 | CalStd | 5 | 200 | 92027.5633 | 0.44854 | 320.83 | 24154.8867 | 1.3202 | 189.538 | 7326.1733 | 1.6261 | 186.8542 | 24704.81 | 0.70837 | 300.5629 | 338.6967 | 6.9977 | 176.6465 | 4139.95 | 1.3831 | 192.9096 | 335764.5433 | 0.17435 | 184.1636 | 153323.76 | 1.0947 | 184.0869 | 999866.46 | 0.53138 | 184.5152 | 642056.2133 | 0.26993 | 184.899 | 183918.7933 | 0.71788 | 185.5763 | 520791.6567 | 0.095556 | 186.7723 | 78270.0567 | 0.75801 | 191.8856 | 77178.9667 | 0.81075 | 184.1347 | 973678.98 | 0.29794 | 369.6844 | 113058.0633 | 0.32515 | 185.0702 | 78125.6733 | 0.5454 | 185.4466 | 1414167.5 | 0.2736 | 184.2998
| FALSE | 500.d | 2026-08-10 13:09 | CalStd | 6 | 500 | 128918.4467 | 1.3211 | 453.1001 | 63752.1167 | 1.9951 | 503.5454 | 19705.33 | 0.7421 | 503.8122 | 36386.1 | 1.3635 | 460.2365 | 946.03 | 11.2109 | 501.3997 | 9352.8 | 1.1326 | 501.474 | 920979.3533 | 0.34075 | 505.2392 | 420769.5067 | 0.30511 | 505.2599 | 2733754.7767 | 0.65744 | 505.3084 | 1753246.2967 | 0.27931 | 504.9313 | 500028.0667 | 0.24673 | 504.6559 | 1404779.6933 | 0.28088 | 503.9628 | 195152.6767 | 0.58301 | 503.5224 | 211885.4 | 0.43473 | 505.5192 | 1068650.8867 | 0.42716 | 405.7451 | 308346.0267 | 0.4908 | 504.7511 | 212570.5833 | 0.4344 | 504.6053 | 3875202.7467 | 0.3494 | 505.1239
| FALSE | Rinse 2.d | 2026-08-10 13:14 | Sample |  | Rinse 2 | 4508.7433 | 5.0342 | 7.0365 | 50.0533 | N/A | <0.000 | 10.0133 | N/A | <0.000 | 3585.9067 | 17.3267 | 11.8848 | 5.0067 | N/A | <0.000 | 799.1967 | N/A | <0.000 | 437.1367 | 10.9836 | 0.18766 | 65.0667 | 45 | 0.04007 | 6576.77 | 2.3407 | 0.74292 | 48.3833 | N/A | <0.000 | 173.5167 | 20.1432 | 0.10442 | 598.9733 | 29.2655 | 0.11794 | 8406.2767 | 11.3915 | 5.6122 | 1.67 | 173.2051 | 0.0039843 | 513.1133 | 8.7186 | 0.17459 | 21.69 | 14.4482 | 0.032772 | 3.3367 | N/A | <0.000 | 450.4833 | 64.2447 | 0.0056551
| FALSE | R1.d | 2026-08-10 13:18 | Sample |  | R1 | 24286.7667 | 2.4585 | 77.9494 | 1459.9467 | 4.9849 | 9.5663 | 744.1333 | 5.2954 | 18.3266 | 4710.74 | 5.5907 | 27.2604 | 66.74 | 21.5736 | 31.2259 | 1800.3467 | 7.0224 | 54.4215 | 301.99 | 20.1466 | 0.11351 | 133.4733 | 51.6538 | 0.12222 | 54108.16 | 1.4282 | 9.5369 | 58.3933 | N/A | <0.000 | 85.0933 | 88.1554 | 0.015165 | 33898.5033 | 0.47714 | 12.0664 | 11917.3833 | 6.0002 | 14.9737 | 0 | N/A | 0 | 20502.3933 | 0.88157 | 7.7645 | 15.0167 | 64.9303 | 0.021848 | 33.37 | 60.2614 | 0.063375 | 9481.7067 | 1.4179 | 1.183
| FALSE | R2.d | 2026-08-10 13:23 | Sample |  | R2 | 13747.46 | 5.0711 | 40.1614 | 740.7967 | 10.6773 | 3.8635 | 615.6667 | 9.4905 | 15.0373 | 4271.7867 | 12.1521 | 21.2602 | 28.3667 | 57.7254 | 10.7069 | 1306.4367 | 7.157 | 25.1854 | 443.8067 | 8.4126 | 0.19131 | 126.8033 | 28.9894 | 0.11421 | 43533.6967 | 1.2073 | 7.5805 | 140.1467 | 50.3324 | 0.021624 | 95.1 | 79.984 | 0.025265 | 34162.6367 | 0.43086 | 12.1612 | 10870.4767 | 8.7408 | 12.1824 | 3.34 | 86.6025 | 0.0079686 | 20305.5133 | 1.5662 | 7.6897 | 5.0067 | 150 | 0.005462 | 33.37 | 39.0294 | 0.063375 | 26455.9467 | 2.3399 | 3.3958
| FALSE | R3.d | 2026-08-10 13:27 | Sample |  | R3 | 31609.7167 | 0.53643 | 104.2054 | 1952.1767 | 6.9681 | 13.4697 | 705.7633 | 4.4945 | 17.3442 | 5446.7333 | 7.0337 | 37.3208 | 81.7533 | 20.8289 | 39.2538 | 1972.2067 | 1.5899 | 64.5944 | 260.2767 | 13.2088 | 0.090622 | 308.6633 | 4.5468 | 0.3326 | 49188.8833 | 1.7783 | 8.6268 | 141.8133 | 30.1213 | 0.022104 | 265.2833 | 30.7689 | 0.19705 | 35828.0833 | 1.417 | 12.7588 | 11451.5667 | 3.6572 | 13.7317 | 5.0067 | 99.9667 | 0.011945 | 22229.1667 | 0.65819 | 8.4201 | 8.3433 | 216.5496 | 0.010924 | 31.7 | 41.6337 | 0.059411 | 9865.8167 | 0.75148 | 1.2331
| FALSE | B0.d | 2026-08-10 13:31 | Sample |  | B0 | 20039.5 | 2.7593 | 62.7211 | 1006.09 | 5.6832 | 5.9672 | 602.3167 | 1.0074 | 14.6955 | 4702.36 | 11.4604 | 27.1458 | 41.71 | 48.2151 | 17.8418 | 1648.4933 | 4.9385 | 45.4328 | 295.3167 | 13.2307 | 0.10985 | 121.7967 | 27.4048 | 0.1082 | 45553.7667 | 1.1655 | 7.9542 | 106.78 | 24.9789 | 0.012014 | 98.4367 | 125.1941 | 0.028633 | 36373.51 | 1.4416 | 12.9545 | 10304.4967 | 4.1174 | 10.6733 | 5.01 | 0 | 0.011953 | 22526.1833 | 1.4946 | 8.5329 | 3.34 | 173.2051 | 0.0027337 | 28.3633 | 48.0311 | 0.05149 | 5960.96 | 2.4469 | 0.72401
| FALSE | B1.d | 2026-08-10 13:36 | Sample |  | B1 | 19110.5567 | 0.98503 | 59.3904 | 1134.5667 | 13.4973 | 6.9861 | 799.2 | 10.4984 | 19.7365 | 4567.16 | 5.4466 | 25.2977 | 75.08 | 32.697 | 35.6854 | 1658.5 | 11.9647 | 46.0251 | 276.9633 | 15.159 | 0.099777 | 131.8033 | 20.816 | 0.12021 | 49838.5967 | 1.3183 | 8.747 | 266.95 | 23.0356 | 0.058144 | 130.14 | 58.3319 | 0.060634 | 55652.5567 | 0.94172 | 19.8721 | 12374.9233 | 5.0669 | 16.1936 | 0 | N/A | 0 | 21878.89 | 0.75694 | 8.2871 | 0 | 0 | <0.000 | 63.4 | 25.4647 | 0.13466 | 6001.04 | 0.42306 | 0.72923
| FALSE | EL-0.d | 2026-08-10 13:40 | Sample |  | EL-0 | 16327.8067 | 2.4877 | 49.4131 | 820.8867 | 5.3664 | 4.4986 | 650.7 | 15.068 | 15.9343 | 4375.2467 | 2.5801 | 22.6744 | 31.7 | 44.6106 | 12.4893 | 1311.44 | 28.6487 | 25.4816 | 283.6367 | 10.7315 | 0.10344 | 125.1333 | 51.1081 | 0.1122 | 42235.26 | 1.5326 | 7.3402 | 35.0367 | N/A | <0.000 | 191.87 | 6.2751 | 0.12294 | 32971.8233 | 0.78504 | 11.7339 | 11005.7067 | 5.5818 | 12.5429 | 1.67 | 173.2051 | 0.0039843 | 20410.6933 | 0.9822 | 7.7297 | 3.34 | 173.2051 | 0.0027337 | 25.0267 | 27.2703 | 0.043569 | 10707.31 | 1.7738 | 1.3427
| FALSE | EL-30.d | 2026-08-10 13:45 | Sample |  | EL-30 | 24343.6867 | 0.60497 | 78.1535 | 1426.58 | 3.9115 | 9.3017 | 620.6667 | 16.1006 | 15.1653 | 5004.45 | 5.6493 | 31.2751 | 53.39 | 32.0674 | 24.0873 | 1867.0867 | 23.902 | 58.372 | 250.2667 | 20.1446 | 0.08513 | 111.7867 | 13.0083 | 0.096175 | 42521.32 | 0.39894 | 7.3932 | 33.3667 | N/A | <0.000 | 88.4267 | 150.1903 | 0.018529 | 48606.8467 | 0.42912 | 17.344 | 10636.74 | 8.1204 | 11.5592 | 3.34 | 86.6025 | 0.0079686 | 20085.3633 | 1.9273 | 7.6061 | 0 | 0 | <0.000 | 41.7133 | 16.4934 | 0.083181 | 10536.99 | 2.741 | 1.3205
| FALSE | EL-60.d | 2026-08-10 13:49 | Sample |  | EL-60 | 29729.12 | 1.736 | 97.4627 | 1638.4733 | 7.428 | 10.9821 | 647.3633 | 9.3365 | 15.8489 | 5032.82 | 6.8779 | 31.6629 | 66.7367 | 13.0964 | 31.2241 | 1972.2167 | 13.9958 | 64.595 | 266.9533 | 35.2333 | 0.094285 | 180.19 | 11.6761 | 0.17832 | 54846.8167 | 0.80765 | 9.6735 | 573.9533 | 7.4482 | 0.14656 | 125.13 | 65.5495 | 0.055577 | 47393.28 | 0.33474 | 16.9086 | 11224.4533 | 2.0742 | 13.1262 | 5.0067 | 173.2051 | 0.011945 | 19007.7567 | 2.4639 | 7.197 | 3.34 | 173.2051 | 0.0027337 | 63.4 | 44.4175 | 0.13466 | 10129.5433 | 2.1444 | 1.2674
| FALSE | DI.d | 2026-08-10 13:53 | Sample |  | DI | 22333.4533 | 2.2851 | 70.9459 | 1383.1867 | 3.016 | 8.9576 | 520.5567 | 13.3372 | 12.6021 | 5064.4833 | 6.5154 | 32.0957 | 61.7333 | 28.6393 | 28.5487 | 1785.3233 | 13.3353 | 53.5322 | 238.5867 | 29.6702 | 0.078722 | 111.7867 | 50.5175 | 0.096175 | 9816.9867 | 3.119 | 1.3424 | 23.3567 | N/A | <0.000 | 115.12 | 44.4395 | 0.045473 | 195167.4233 | 0.65886 | 69.9325 | 10583.32 | 3.4244 | 11.4167 | 3.34 | 86.6025 | 0.0079686 | 9810.7133 | 2.1459 | 3.7049 | 1.67 | N/A | 0 | 96.77 | 40.1887 | 0.21388 | 2279.2833 | 6.1579 | 0.24406
| FALSE | Ca.d | 2026-08-10 13:58 | Sample |  | Ca | 24460.7067 | 1.2717 | 78.5731 | 1401.5433 | 5.8987 | 9.1032 | 477.18 | 8.6626 | 11.4915 | 5303.21 | 9.2368 | 35.3589 | 60.0633 | 58.8667 | 27.6557 | 1776.98 | 3.6632 | 53.0383 | 288.64 | 31.2872 | 0.10618 | 123.4633 | 36.3175 | 0.1102 | 12914.2433 | 2.1855 | 1.9154 | 43.38 | N/A | <0.000 | 111.7867 | 38.5694 | 0.042109 | 1042523.07 | 0.968 | 373.9787 | 9955.5567 | 5.4541 | 9.743 | 3.3367 | 173.2051 | 0.0079607 | 35625.7067 | 1.199 | 13.5068 | 3.34 | 173.2051 | 0.0027337 | 96.7667 | 16.0401 | 0.21387 | 1978.91 | 9.3305 | 0.2049
| FALSE | H_plus.d | 2026-08-10 14:02 | Sample |  | H_plus | 36661.5733 | 0.68383 | 122.3186 | 1960.53 | 9.7726 | 13.536 | 659.0467 | 18.3467 | 16.148 | 6104.3633 | 6.6309 | 46.31 | 105.1133 | 36.211 | 51.7448 | 1977.2167 | 1.3692 | 64.8909 | 220.2333 | 40.5943 | 0.068652 | 156.8333 | 27.2286 | 0.15027 | 49011.6467 | 1.1518 | 8.594 | 31.7033 | N/A | <0.000 | 155.1667 | 20.3811 | 0.085896 | 969453.0033 | 0.16435 | 347.7599 | 9670.0867 | 10.3131 | 8.9818 | 5.0067 | 99.9667 | 0.011945 | 2697.4 | 7.2885 | 1.004 | 3.34 | 173.2051 | 0.0027337 | 146.82 | 10.3073 | 0.33269 | 2124.0767 | 7.5715 | 0.22383
| FALSE | Bead_1.d | 2026-08-10 14:06 | Sample |  | Bead_1 | 28794.61 | 0.30607 | 94.112 | 1505.0033 | 9.5205 | 9.9236 | 625.67 | 7.1598 | 15.2935 | 5405.0067 | 8.9941 | 36.7504 | 86.7633 | 14.7393 | 41.9327 | 1940.51 | 10.4189 | 62.7182 | 857.5933 | 0.75795 | 0.41834 | 403.7667 | 13.7413 | 0.44681 | 1453298.5867 | 0.37528 | 268.4064 | 131.8033 | 37.7473 | 0.019221 | 425.4567 | 9.8591 | 0.35873 | 26194.42 | 1.7601 | 9.302 | 11910.7733 | 8.0193 | 14.956 | 5.0067 | 99.9667 | 0.011945 | 376.5033 | 15.4887 | 0.12272 | 11.68 | 28.8964 | 0.016386 | 136.8133 | 35.7378 | 0.30894 | 4238.4833 | 5.9306 | 0.49946
| FALSE | 100ug_Cu.d | 2026-08-10 14:11 | Sample |  | 100ug_Cu | 14622.4833 | 3.3838 | 43.2987 | 717.44 | 23.7493 | 3.6782 | 442.1367 | 5.0374 | 10.5942 | 4518.79 | 2.0864 | 24.6366 | 28.3633 | 62.9021 | 10.7051 | 1359.83 | 14.867 | 28.346 | 557.2633 | 2.501 | 0.25356 | 215.2267 | 29.4999 | 0.2204 | 20694.7267 | 1.4762 | 3.3549 | 110.1167 | 19.2493 | 0.012975 | 704.09 | 10.6606 | 0.63998 | 7369.6167 | 4.7067 | 2.5474 | 8868.7033 | 10.9961 | 6.8452 | 0 | N/A | 0 | 634.73 | 3.7469 | 0.22076 | 0 | 0 | <0.000 | 61.73 | 36.7446 | 0.1307 | 1626.8167 | 3.9585 | 0.159
| FALSE | Powder.d | 2026-08-10 14:15 | Sample |  | Powder | 41745.14 | 1.492 | 140.5454 | 1933.8233 | 4.0453 | 13.3242 | 553.93 | 3.0625 | 13.4566 | 7731.85 | 1.7475 | 68.5564 | 108.45 | 20.2063 | 53.529 | 2401.0533 | 6.9581 | 89.9791 | 330.3533 | 13.9543 | 0.12907 | 815.8833 | 7.361 | 0.94172 | 1473336.2933 | 0.90189 | 272.1136 | 98.4367 | 45.8212 | 0.0096108 | 186.8667 | 15.0512 | 0.11789 | 6504.97 | 6.9882 | 2.2371 | 9920.49 | 2.9595 | 9.6495 | 1.67 | 173.2051 | 0.0039843 | 884.6333 | 8.3312 | 0.31565 | 5.0067 | 150 | 0.005462 | 116.79 | 25.034 | 0.26141 | 2532.92 | 9.3934 | 0.27712
| FALSE | Control.d | 2026-08-10 14:20 | Sample |  | Control | 25597.2433 | 1.2792 | 82.6481 | 1611.7833 | 6.3942 | 10.7704 | 729.12 | 16.5116 | 17.9422 | 5400.0067 | 9.846 | 36.6821 | 85.09 | 22.591 | 41.038 | 1912.1367 | 6.3107 | 61.0387 | 250.2633 | 34.1413 | 0.085128 | 190.2033 | 20.7076 | 0.19035 | 38535.96 | 0.15691 | 6.6558 | 56.7267 | N/A | <0.000 | 155.1633 | 30.566 | 0.085893 | 1242762.81 | 0.34443 | 445.8283 | 14378.9467 | 3.0733 | 21.5368 | 3.34 | 86.6025 | 0.0079686 | 16608.9867 | 0.91991 | 6.2862 | 6.6767 | 152.7453 | 0.0081958 | 533.9067 | 8.8221 | 1.2516 | 21810.9767 | 1.2421 | 2.7902
| FALSE | Rinse 3.d | 2026-08-10 14:24 | Sample |  | Rinse 3 | 4730.7267 | 4.7366 | 7.8324 | 56.7267 | N/A | <0.000 | 21.69 | N/A | <0.000 | 3600.89 | 9.6461 | 12.0896 | 5.01 | 0 | <0.000 | 869.27 | N/A | <0.000 | 382.07 | 19.2134 | 0.15744 | 63.4033 | 86.9556 | 0.038072 | 6686.92 | 3.8318 | 0.7633 | 51.72 | N/A | <0.000 | 146.82 | 16.4147 | 0.077471 | 387.08 | 64.475 | 0.041908 | 6875.5433 | 38.0782 | 1.5309 | 5.0067 | 173.2051 | 0.011945 | 96.6233 | 29.039 | 0.016446 | 6.6767 | 57.6581 | 0.0081958 | 3.3367 | N/A | <0.000 | 281.9667 | N/A | <0.000
| FALSE | Rinse 4.d | 2026-08-10 14:28 | Sample |  | Rinse 4 | 4470.3767 | 3.1659 | 6.8989 | 55.0567 | N/A | <0.000 | 11.6833 | N/A | <0.000 | 3599.2367 | 33.7763 | 12.067 | 3.3367 | N/A | <0.000 | 820.89 | N/A | <0.000 | 432.1267 | 12.8045 | 0.18491 | 50.0533 | 178.8355 | 0.02204 | 6660.1767 | 3.8662 | 0.75835 | 16.6867 | N/A | <0.000 | 158.5 | 14.2466 | 0.089261 | 370.3967 | 34.9994 | 0.035921 | 6653.5567 | 32.0477 | 0.93906 | 1.67 | 173.2051 | 0.0039843 | 61.6433 | 138.4948 | 0.0031642 | 3.34 | 173.2051 | 0.0027337 | 1.67 | N/A | <0.000 | 305.3267 | N/A | <0.000
| FALSE | Rinse 5.d | 2026-08-10 14:33 | Sample |  | Rinse 5 | 2329.3067 | N/A | <0.000 | 6.6767 | N/A | <0.000 | 3.34 | N/A | <0.000 | 3138.6267 | 15.6842 | 5.7709 | 3.34 | N/A | <0.000 | 659.0467 | N/A | <0.000 | 83.4233 | N/A | <0.000 | 18.3567 | N/A | <0.000 | 352.04 | N/A | <0.000 | 3.34 | N/A | <0.000 | 21.69 | N/A | <0.000 | 120.1267 | N/A | <0.000 | 8476.41 | 20.1891 | 5.7992 | 1.67 | 173.2051 | 0.0039843 | 26.6567 | N/A | <0.000 | 1.67 | N/A | 0 | 0 | N/A | <0.000 | 263.6133 | N/A | <0.000
| FALSE | Rinse 6.d | 2026-08-10 14:37 | Sample |  | Rinse 6 | 2124.06 | N/A | <0.000 | 3.34 | N/A | <0.000 | 5.0067 | N/A | <0.000 | 3136.98 | 61.0506 | 5.7483 | 5.0067 | N/A | <0.000 | 714.1033 | N/A | <0.000 | 71.7433 | N/A | <0.000 | 6.6767 | N/A | <0.000 | 402.0933 | N/A | <0.000 | 0 | 0 | <0.000 | 15.0167 | N/A | <0.000 | 73.41 | N/A | <0.000 | 4934.3633 | N/A | <0.000 | 0 | N/A | 0 | 18.3267 | N/A | <0.000 | 0 | 0 | <0.000 | 0 | N/A | <0.000 | 243.5933 | N/A | <0.000

## Analysis
Sample |  | 23 Na [ He ] | 24 Mg [ He ] | 27 Al [ He ] | 39 K [ He ] | 43 Ca [ He ] | 44 Ca [ He ] | 52 Cr [ He ] | 55 Mn [ He ] | 56 Fe [ H2 ] | 59 Co [ He ] | 60 Ni [ He ] | 63 Cu [ He ] |  |  | 66 Zn [ He ] | 71 Ga [ He ] | 107 Ag [ He ] | 111 Cd [ He ] | 137 Ba [ He ] | 208 Pb [ He ]
Sample Name | Vol | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Yeild | Mass mg | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ]
R1 | 0.03 | 779494.3482 | 95663.4465 | 183266.0596 | 272603.506 | 312258.5586 | 544214.6787 | 1135.0748 | 1222.186 | 95368.8447 | <0.000 | 151.645 | 76.2452 | 3619.9197 | 120663.9899 | 149736.677 | 0 | 77644.9084 | 218.4812 | 633.752 | 11829.7821
R2 | 0.03 | 401613.7868 | 38634.601 | 150373.2457 | 212602.1935 | 107068.7346 | 251854.4486 | 1913.1459 | 1142.0866 | 75804.6326 | 216.2369 | 252.652 | 76.844 | 3648.3524 | 121611.747 | 121823.6628 | 79.6862 | 76897.3575 | 54.6203 | 633.752 | 33957.6429
R3 | 0.03 | 1042054.3576 | 134697.457 | 173441.7425 | 373207.745 | 392537.8296 | 645943.7977 | 906.2164 | 3326.0255 | 86267.506 | 221.037 | 1970.4768 | 80.6201 | 3827.6299 | 127587.6643 | 137316.9001 | 119.4498 | 84201.4447 | 109.2406 | 594.1079 | 12330.5133
B0 | 0.03 | 627211.1323 | 59672.4548 | 146955.09 | 271458.0289 | 178418.1843 | 454328.1093 | 1098.4618 | 1081.962 | 79542.0401 | 120.138 | 286.3322 |  | 3886.3425 | 129544.7516 | 106733.2939 | 119.5293 | 85329.2132 | 27.3374 | 514.8988 | 7240.0866 | Cu mg/kg shred
B1 | 0.03 | 593904.4225 | 69860.6992 | 197365.4184 | 252977.3002 | 356854.1927 | 460251.3572 | 997.7671 | 1202.1311 | 87469.5651 | 581.4414 | 606.3446 |  | 5961.6414 | 198721.3814 | 161935.7784 | 0 | 82871.4487 | <0.000 | 1346.634 | 7292.3355 | 4747.737
EL-0 | 0.03 | 494130.5792 | 44985.7659 | 159343.2372 | 226744.325 | 124892.729 | 254816.0725 | 1034.38 | 1122.0317 | 73402.3462 | <0.000 | 1229.4451 |  | 3520.1669 | 117338.8982 | 125429.2152 | 39.8431 | 77296.7246 | 27.3374 | 435.6897 | 13427.496
EL-30 | 0.029 | 781535.1809 | 93017.4582 | 151653.4538 | 312751.2488 | 240873.4609 | 583720.0982 | 851.297 | 961.7529 | 73931.5965 | <0.000 | 185.2916 |  | 5029.7637 | 173440.1276 | 115591.689 | 79.6862 | 76061.4508 | <0.000 | 831.8143 | 13205.4644
EL-60 | 0.028 | 974626.6845 | 109820.6734 | 158488.9117 | 316629.1946 | 312240.7346 | 645949.717 | 942.8476 | 1783.2019 | 96735.4611 | 1465.6375 | 555.7738 |  | 4734.3978 | 169085.6357 | 131261.5201 | 119.4498 | 71969.792 | 27.3374 | 1346.634 | 12674.3112 | 10000
Sample |  | 23 Na [ He ] | 24 Mg [ He ] | 27 Al [ He ] | 39 K [ He ] | 43 Ca [ He ] | 44 Ca [ He ] | 52 Cr [ He ] | 55 Mn [ He ] | 56 Fe [ H2 ] | 59 Co [ He ] | 60 Ni [ He ] | 63 Cu [ He ] | 66 Zn [ He ] | 71 Ga [ He ] | 107 Ag [ He ] | 111 Cd [ He ] | 137 Ba [ He ] | 208 Pb [ He ]
Sample Name | Vol | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ] | Conc. [ ug/l ]
B0 | 0.03 | 627211.1323 | 59672.4548 | 146955.09 | 271458.0289 | 178418.1843 | 454328.1093 | 1098.4618 | 1081.962 | 79542.0401 | 120.138 | 286.3322 | 129544.7516 | 106733.2939 | 119.5293 | 85329.2132 | 27.3374 | 514.8988 | 7240.0866
B1 | 0.03 | 593904.4225 | 69860.6992 | 197365.4184 | 252977.3002 | 356854.1927 | 460251.3572 | 997.7671 | 1202.1311 | 87469.5651 | 581.4414 | 606.3446 | 198721.3814 | 161935.7784 | 0 | 82871.4487 | <0.000 | 1346.634 | 7292.3355
EL-0 | 0.03 | 494130.5792 | 44985.7659 | 159343.2372 | 226744.325 | 124892.729 | 254816.0725 | 1034.38 | 1122.0317 | 73402.3462 | <0.000 | 1229.4451 | 117338.8982 | 125429.2152 | 39.8431 | 77296.7246 | 27.3374 | 435.6897 | 13427.496
EL-30 | 0.029 | 781535.1809 | 93017.4582 | 151653.4538 | 312751.2488 | 240873.4609 | 583720.0982 | 851.297 | 961.7529 | 73931.5965 | <0.000 | 185.2916 | 173440.1276 | 115591.689 | 79.6862 | 76061.4508 | <0.000 | 831.8143 | 13205.4644
EL-60 | 0.028 | 974626.6845 | 109820.6734 | 158488.9117 | 316629.1946 | 312240.7346 | 645949.717 | 942.8476 | 1783.2019 | 96735.4611 | 1465.6375 | 555.7738 | 169085.6357 | 131261.5201 | 119.4498 | 71969.792 | 27.3374 | 1346.634 | 12674.3112

## ValueList_Helper (hidden)
Bkgnd
BlkVrfy
CalBlk
CalStd
CICSpike
DilStd
DriftChk
FQBlk
IsoStd
QC1
QC2
QC3
QC4
QC5
Sample
Spike
Spike Ref
SQBlk
SQISTD
SQStd